## Slide 1: DXS Optics Simulation
Nan Wang, Apr 30th 2021

## Slide 2: Outline
Crystal heat-load deformation
  Strehl ratio
HRM tolerance scan (some issues)
HRM-Mir optimization

## Slide 3: Deformation
Crystal deformation is simulated as the height error for a flat mirror. For a 250um (FWHM) beam profile, the RMS height error is ~88.7 pm at 70W.

## Slide 4: Beam profile vs height error

## Slide 5: Around focal plane, ±25cm
flat mirror
8.87pm
26.62pm

## Slide 6: Strehl ratio
The theoretical Strehl ratio for the three cases are: 1.0, 0.952, 0.643 respectively. The simulated value is smaller due to astigmatism. Working on correction with 1D CRL.

## Slide 7: Crystal-lens distance

## Slide 8: Crystal miscut error, C1, C2

## Slide 9: Crystal miscut error, C3, C4

## Slide 10: Crystal alginment error, C1, C2
I’m certain that the parameters were changed in the simulation.

## Slide 11: Crystal alignment error, C3, C4
I’m certain that the parameters were changed in the simulation.

## Slide 12: HRM Mirror, before mirror 1

## Slide 13: HRM Mirror, focus

## Slide 14: HRM Mirror, before mirror 2

## Slide 15: HRM Mirror, before C3

## Slide 16: HRM Mirror, before C4

## Slide 17: HRM Mirror, output

## Slide 18: To-do
Email Jana and ask for help in terms of visualizing large datasets not in the middle of propagation but after finished, or extracting a small amount of data to plot.
Linear scale plots might be more meaningful
Compare lens and mirror cases (linear/log both)
Subtract quad fit then calculate Strehl ratio, do this for lower power deformation; Now wants to get highest power limit for focus around focal spot to look normal
Want extreme (40W), lower, daily (10keV, 20W) power results.