## Slide 1: DXS Optics Summary
- Checking validity of previous m2_p simulations
Nan Wang, Aug 05 2021

## Slide 2: Zigzag-9481eV-Si-111-220-440, tolerance
 | Perfect | HHLM1 | HHLM2 | HHLM3 | HHLM4 | HRM1 | HRM2
Power (W) | N/A | 29.9778 | 10.2117 | 0.2468 | 0.2344 | 3.4120 | 0.4440
m2 p (m) | 175.7567547 | 523.3670250 | 216.9631929 | N/A | N/A | 201.6045856 | N/A
Individual crystal shapeError correction to find the weakest crystal
Full crystal shapeError correction to see the maximum power acceptable

## Slide 3: Zigzag-9481eV-Si-111-220-440, spatial
perfect
error only
bending
Profile at focus

## Slide 4: Zigzag-9481eV-Si-111-220-440, spatial
perfect
error only
bending
Profile at output

## Slide 5: Zigzag-9481eV-Si-111-220-440, spectrum
perfect
Error only
bending
Spectrum at focus
This looks like an artifact

## Slide 6: Zigzag-9481eV-Si-111-220-440, spectrum
perfect
Error only
bending
Spectrum at output
Add 1D plot at x=0 and see what tail looks like

## Slide 7: 2DCM-9481eV-Si-111-220-440, tolerance
 | Perfect | HHLM1 | HHLM2 | HHLM3 | HHLM4 | HRM1 | HRM2
Power (W) | N/A | 29.9552 | 1.0849 | 9.1635 | 0.2965 | 3.5789 | 0.4476
m2 p (m) | 175.7567547 | 529.1965262 | N/A | 319.4762650 | N/A | 202.3190781 | N/A
Individual crystal shapeError correction to find the weakest crystal
Full crystal shapeError correction to see the maximum power acceptable

## Slide 8: 2DCM-9481eV-Si-111-220-440, spatial
perfect
error only
bending
Profile at focus

## Slide 9: 2DCM-9481eV-Si-111-220-440, spatial
perfect
error only
bending
Profile at output

## Slide 10: 2DCM-9481eV-Si-111-220-440, spectrum
perfect
Error only
bending
Spectrum at focus

## Slide 11: 2DCM-9481eV-Si-111-220-440, spectrum
perfect
Error only
bending
Spectrum at output

## Slide 12: Phase plate at HHLM
Close slit
Open slit
HHLM
difference
plate
HRM

## Slide 13: Phase difference at HHLM, close slit
Right after phase plate
After HRM mirror 1
Before HRM mirror 2
Output
HHLM
difference
plate
HRM

## Slide 14: Phase difference at HHLM, open slit
Right after phase plate
After HRM mirror 1
Before HRM mirror 2
Output
HHLM
difference
plate
HRM

## Slide 15: Phase plate at HRM
HHLM
HRM
plate
difference
Close slit
Open slit

## Slide 16: Phase difference at HRM, close slit
Right after phase plate
After HRM mirror 1
Before HRM mirror 2
Output
HHLM
HRM
plate
difference

## Slide 17: Phase difference at HRM, open slit
Right after phase plate
After HRM mirror 1
Before HRM mirror 2
Output
HHLM
HRM
plate
difference

## Slide 18: Beam profiles comparison (HHLM open)
corrector
perfect
error only
bending
perfect
error only
bending
corrector
Output
Focus

## Slide 19: Beam spectrum comparison (HHLM open)
corrector
perfect
error only
bending
perfect
error only
bending
corrector
Output
Focus