## Slide 1: DXS Optics Simulation
Nan Wang, Mar 27th 2021

## Slide 2: Outline
Full reduction vs partial reduction
  Sampling parameters
  Results comparison
Thoughts

## Slide 3: Full reduction
Input Parameters |  |  | Si 220 |  |  |  |  |  |  |  | Si 440 |  |  |  |  |  |  |  |  |  |  |  |  | 
E (eV) | 9481 |  | Bragg angle |  | 19.90988 |  | x_scaling | 12.00 |  |  | Bragg angle |  | 42.92648 |  | x_scaling | 4.00 |  |  |  |  |  |  |  | 
T (fs) | 20 |  | asymmetry angle |  | 17 |  | t_stretching (fs) | 52300.88 |  |  | asymmetry angle |  | -29.5 |  | t_stretching (fs) | 9381.00 |  |  |  |  |  |  |  | 
X range (m) | 4.00E-03 |  | b factor 1 |  | 11.83014 |  | z_scaling | 65.00 |  |  | b factor 1 |  | 0.243565 |  | z_scaling | 12.00 |  |  |  |  |  |  |  | 
Y range (m) | 4.00E-03 |  | stretch factor 1 |  | 3.922566 |  |  |  |  |  | stretch factor 1 |  | 0.703575 |  |  |  |  |  |  |  |  |  |  | 
T range (fs) | 800 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
T res (fs) | 2 |  | Unit Time (s) |  | 6.00E-07 |  | Max pts | 2.05E+09 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
E range (eV) | 2 |  | Total time |  | 0:33:49 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
E res (eV) | 0.005 |  | HRM only |  | 0:08:15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Nx | 256 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Ny | 8 |  | Ny reduced | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Nz | 400 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | incident (CRL0) |  | HHLM1 |  | HHLM2 |  | HHLM3 |  | HHLM4 |  | HRM1 |  | HRM2 |  | CRL1 |  | Slit |  | CRL2 |  | HRM3 |  | HRM4 | 
X range, res (um) | 4000.00 | 15.63 | 48000.00 | 15.63 | 48000.00 | 15.63 | 48000.00 | 15.63 | 4000.00 | 1.30 | 4000.00 | 1.30 | 16000.00 | 5.21 | 16000.00 | 5.21 | 16000.00 | 5.21 | 16000.00 | 5.21 | 4000.00 | 1.30 | 4000.00 | 1.30
Y range, res (um) | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00
T range, res (fs) | 800.00 | 2.00 | 52000.00 | 2.00 | 52000.00 | 2.00 | 52000.00 | 2.00 | 52000.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00
E range, res (meV) | 2000.00 | 5.00 | 2000.00 | 0.08 | 2000.00 | 0.08 | 2000.00 | 0.08 | 2000.00 | 0.08 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42
Nx | 256 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 | 
Ny | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 | 
Nz | 400 |  | 26000 |  | 26000 |  | 26000 |  | 26000 |  | 4800 |  | 4800 |  | 4800 |  | 4800 |  | 4800 |  | 4800 |  | 4800 | 
pts | 8.19E+05 |  | 6.39E+08 |  | 6.39E+08 |  | 6.39E+08 |  | 6.39E+08 |  | 1.18E+08 |  | 1.18E+08 |  | 1.18E+08 |  | 1.18E+08 |  | 1.18E+08 |  | 1.18E+08 |  | 1.18E+08 | 
Estimated time | 0:00:00 |  | 0:06:24 |  | 0:12:47 |  | 0:19:11 |  | 0:25:34 |  | 0:26:45 |  | 0:27:56 |  | 0:29:06 |  | 0:30:17 |  | 0:31:28 |  | 0:32:39 |  | 0:33:49 | 
In this case, the vertical dimension of all OEs is suppressed to the minimum 8 pts.

## Slide 4: Partial reduction
Input Parameters |  |  | Si 220 |  |  |  |  |  |  |  | Si 440 |  |  |  |  |  |  |  |  |  |  |  |  | 
E (eV) | 9481 |  | Bragg angle |  | 19.90988 |  | x_scaling | 12.00 |  |  | Bragg angle |  | 42.92648 |  | x_scaling | 4.00 |  |  |  |  |  |  |  | 
T (fs) | 20 |  | asymmetry angle |  | 17 |  | t_stretching (fs) | 52300.88 |  |  | asymmetry angle |  | -29.5 |  | t_stretching (fs) | 9381.00 |  |  |  |  |  |  |  | 
X range (m) | 4.00E-03 |  | b factor 1 |  | 11.83014 |  | z_scaling | 65.00 |  |  | b factor 1 |  | 0.243565 |  | z_scaling | 12.00 |  |  |  |  |  |  |  | 
Y range (m) | 4.00E-03 |  | stretch factor 1 |  | 3.922566 |  |  |  |  |  | stretch factor 1 |  | 0.703575 |  |  |  |  |  |  |  |  |  |  | 
T range (fs) | 800 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
T res (fs) | 2 |  | Unit Time (s) |  | 6.00E-07 |  | Max pts | 2.05E+09 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
E range (eV) | 2 |  | Total time |  | 2:23:47 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
E res (eV) | 0.005 |  | HRM only |  | 1:57:58 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Nx | 256 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Ny | 256 |  | Ny reduced | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Nz | 400 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | incident (CRL0) |  | HHLM1 |  | HHLM2 |  | HHLM3 |  | HHLM4 |  | HRM1 |  | HRM2 |  | CRL1 |  | Slit |  | CRL2 |  | HRM3 |  | HRM4 | 
X range, res (um) | 4000.00 | 15.63 | 48000.00 | 15.63 | 48000.00 | 15.63 | 48000.00 | 15.63 | 4000.00 | 1.30 | 4000.00 | 1.30 | 16000.00 | 5.21 | 16000.00 | 5.21 | 16000.00 | 5.21 | 16000.00 | 5.21 | 4000.00 | 1.30 | 4000.00 | 1.30
Y range, res (um) | 4000.00 | 15.63 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 15.63 | 4000.00 | 15.63 | 4000.00 | 15.63 | 4000.00 | 500.00 | 4000.00 | 500.00
T range, res (fs) | 800.00 | 2.00 | 52000.00 | 2.00 | 52000.00 | 2.00 | 52000.00 | 2.00 | 52000.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00 | 9600.00 | 2.00
E range, res (meV) | 2000.00 | 5.00 | 2000.00 | 0.08 | 2000.00 | 0.08 | 2000.00 | 0.08 | 2000.00 | 0.08 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42 | 2000.00 | 0.42
Nx | 256 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 |  | 3072 | 
Ny | 256 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 256 |  | 256 |  | 256 |  | 8 |  | 8 | 
Nz | 400 |  | 26000 |  | 26000 |  | 26000 |  | 26000 |  | 4800 |  | 4800 |  | 4800 |  | 4800 |  | 4800 |  | 4800 |  | 4800 | 
pts | 2.62E+07 |  | 6.39E+08 |  | 6.39E+08 |  | 6.39E+08 |  | 6.39E+08 |  | 1.18E+08 |  | 1.18E+08 |  | 3.77E+09 |  | 3.77E+09 |  | 3.77E+09 |  | 1.18E+08 |  | 1.18E+08 | 
Estimated time | 0:00:16 |  | 0:06:39 |  | 0:13:02 |  | 0:19:26 |  | 0:25:49 |  | 0:27:00 |  | 0:28:11 |  | 1:05:56 |  | 1:43:41 |  | 2:21:26 |  | 2:22:36 |  | 2:23:47 | 
In this case, only the vertical dimension of all crystals are reduced

## Slide 5: reduced result comparison, input
full
partial

## Slide 6: reduced result comparison, CRL0
full
partial

## Slide 7: reduced result comparison, focus
full
partial
this aliasing is caused by insufficient sampling in energy, each “stripe” corresponds to an energy component

## Slide 8: reduced result comparison, before C3
full
partial

## Slide 9: reduced result comparison, output
full
partial
this aliasing is the result of insufficient sampling in the y dimension

## Slide 10: Thoughts
Maybe it is enough to have 8 pts in y. If so, we can maintain the same energy resolution for the HRM and have more “stripes” at the focal plane.
This also gives us capability of simulating down to 4fs pulses before running out of memory. Honestly I’m not entirely sure how the maximum memory is calculated at NERSC, my assumption is the amount of memory is proportional to the number of threads used. If this is the case, we can technically simulate much broader bandwidths without running into memory issues, however the speed up from OpenMP diminishes around ~50 threads so the amount of time would scale up linearly. A rough estimation is ~1fs takes a day to propagate through the entire beamline (15 hrs if HRM only)

## Slide 11: In progress
Simulation results if the energy resolution is not reduced for the HRM. ETA 18 hrs from this update